## LinkML_description
id | name | description | version | license
https://example.com/CIMR | mass_spec_metabolomics | Based on CIMR | 1.0.0 | CC0

## LinkML_slots
classes | slot_group | slots | name | range | minimum | maximum | regex | multivalued | inlined_as_list | enums | description | is_identifier | recommended | required | slot_uri(ontology) | prefix_reference | comments
metabolomics_experiment | identifiers | investigation_identifier |  | string | [6 empty] | The identifier for this investigation collected using the investigation template. This is used to match the flow cytometry experiment to an investigation. |  |  | TRUE | obo:OBI_0000066 | http://purl.obolibrary.org/obo/ | i_Prj140
metabolomics_experiment | identifiers | study_identifier |  | string | [6 empty] | The identifier for this study collected using the template appropriate for your study design (e.g., MIATE for animal experiments). This is used to match the flow cytometry experiment to a study. |  |  | TRUE |  |  | s_Prj140
metabolomics_experiment | identifiers | sample_identifier |  | string | [6 empty] | The identifier for this study collected using the template appropriate for your study design (e.g., MIATE for animal experiments). This is used to match the sample source to the data. |  |  | TRUE |  |  | Prj140_M001_Liver
metabolomics_experiment | identifiers | metabolomic_experimet_dentifier |  | string | [6 empty] | This is a unique ID assigned by the user to represent each individual record in this flow cytometry experiment. | TRUE |  | TRUE |  |  | ms_S001
metabolomics_experiment | experiment | purpose |  | string | [6 empty] | A brief description of the goal of the experiment. This should include the rationale and hypothesis. |  | TRUE |  | obo:NCIT_C25634 | http://purl.obolibrary.org/obo/ | TCDD is an environmental contaminant that elicits a number of hepatic effects including fat accumulation, inflammation, and fibrosis that can progress to hepatocellular carcinoma. RNA-Seq and targeted metabolomics were integrated with complementary dioxin response element (DRE) location and aryl hydrocarbon receptor (AhR) ChIP-Seq data to further investigate the hepatotoxicity of TCDD. Our integrative analysis identified changes similar to the Warburg effect observed in cancer cells, including pyruvate kinase isoform switching (PKM1 to PKM2), and an increase in the glutaminase (GLS1) GAC:KGA isoform ratio. Consequently, metabolites are redirected towards the pentose phosphate pathway, serine biosynthesis, and glutaminolysis. We propose that the effects of TCDD on central carbon and amino acid metabolism represents AhR-mediated hepatic metabolic reprogramming in order to increase NADPH production as an oxidative stress counter-measure.
metabolomics_experiment | experiment | primary_contact |  | string | [6 empty] | The individual who is the primary contact for this experiment. |  |  | TRUE | obo:OBI_0000202 | http://purl.obolibrary.org/obo/ | Nault,Rance
metabolomics_experiment | experiment | date |  | date | [6 empty] | The date or time period during which the investigation was performed (i.e., from collecting and treating samples to performing data analysis) shall be stated. |  | TRUE |  | obo:STATO_0000093 | http://purl.obolibrary.org/obo/
metabolomics_experiment | exctraction | extraction_protocol |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  | TRUE |  |  | Frozen liver tissue was homegenized in 1000 ul h20:methanol (5:3) mixture5 ml and homegenized, 625 ul chloroform was added,vortexed and spun down at 15,000G. 800 ul of top layer was removed and blown down with nitrogen and reconstituted in 400 l 10mM tetrabutylammonium (TBA)+10mM acetate (pH 5). A further 1:16 dilution was performed for analysis of acetyl-CoA.
metabolomics_experiment | exctraction | extraction_protocol_DOI |  | string | [6 empty] | A DOI to a version controlled protocol, preferably available on a repository such as protocols.io |  | TRUE |  |  |  | dx.doi.org/10.17504/protocols.io.64hhgt6
metabolomics_experiment | exctraction | derivitization |  | enum | [5 empty] | diazomethane;hexamethyldisilazane;methyl iodide potassium;N-methyl-(tert-butyldimethylsilyl)trifluoroacetamide;N-methyl-N-(trimethylsilyl);triﬂuoroacetamide;N-trimethylsilyl-imidazole;N,N-dimethylformamidedimethylacetale;N,O-Bis-(Trimethylsilyl)acetamide;N,O-bis(trimethylsilyl)triﬂuoroacetamide;pyridine;tert-Butyldimethylsilyl;trimethylchlorosilane;trimethylphenylammoniumhydroxide;Trimethylsilyldiethylamine;trimethylsulphonium hydroxide
metabolomics_experiment | exctraction | extract_preservation_method |  | enum | [5 empty] | Room temperature;-20C;-80C | The chemical agent used for the derivatization reaction
metabolomics_experiment | exctraction | calibration_standard |  | string | [6 empty] | Indicate the name of the chemical compound used as calibration standard. | [5 empty] | Acetyl-1,2-13C2 Coenzyme A Sodium Salt
metabolomics_experiment | chromatography | chromatography_protocol |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  | TRUE |  |  | Ion-pairing reverse phase chromatography was performed on an Ascentis Express column (C18, 5 cm × 2.1 mm, 2.7 µm, Sigma).
metabolomics_experiment | chromatography | chromatography_protocol_DOI |  | string | [6 empty] | A DOI to a version controlled protocol, preferably available on a repository such as protocols.io |  | TRUE
metabolomics_experiment | chromatography | chromatography_column |  | string | [6 empty] | The name of the chromatography column. |  |  | TRUE |  |  | Ascentis Express C18: 5cm x 2.1 mm, 2.7 um, Sigma-Aldrich
metabolomics_experiment | LiquidChromatography | elution program |  | string | [6 empty] | Description of the elution program using the following scheme | [5 empty] | injection volume, 10 µl; column temperature, 30 °C; and flow rate, 400 µl/min. The LC solvents were solvent A: 10 mM tributylamine and 15 mM acetic acid in 97:3 water:methanol (pH 4.95) and solvent B: methanol. Elution from the column was performed over 11 min with the following gradient: t = 0, 0% solvent B, flow rate 0.4 ml/min; t = 1, 0% solvent B, flow rate 0.4 ml/min; t = 2, 20% solvent B, flow rate 0.3 ml/min; t = 3, 20% solvent B, flow rate 0.25 ml/min; t = 5, 55% solvent B, flow rate 0.15 ml/min; t = 8, 95% solvent B, flow rate 0.15 ml/min; t = 8.5, 95% solvent B, flow rate 0.15 ml/min; t = 9, 0% solvent B, flow rate 0.4 ml/min; t = 11, 0% solvent B, flow rate 0.4 ml/min.
metabolomics_experiment | LiquidChromatography | flow_rate |  | string | [6 empty] | Report the flow rate of the elution buffer through column in amount per minute.
metabolomics_experiment | GasChromatography | carrier_gas |  | string | [6 empty] | The composition of the carrier gas (modile phase)
metabolomics_experiment | GasChromatography | oven_temperature_program |  | string | [6 empty] | The description of the gas chromatography oven temperature program | [5 empty] | 40 degree C hold for 1 min.;10 degree C/min. to 300 degree C;300 degree C hold for 10 min.
metabolomics_experiment | ms_method | ms_protocol |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  | TRUE |  |  | Mass spectra were acquired using negative-mode electrospray ionization run in MSE continuum mode. The capillary voltage was 2,500 V and cone voltage was 40 V. Nitrogen was used as cone gas and desolvation gas, with flow rates of 50 and 600 L/h, respectively. The source temperature was 100 °C, and desolvation temperature was 300 °C. Argon was used as collision gas.
metabolomics_experiment | ms_method | ms_protocol_DOI |  | string | [6 empty] | A DOI to a version controlled protocol, preferably available on a repository such as protocols.io |  | TRUE
metabolomics_experiment | Instrument | manufacturer |  | enum | [5 empty] | Agilent;Waters | The name of the mass spectrometry instrument manufacturer
metabolomics_experiment | Instrument | model |  | enum | [5 empty] | Xevo TQ-S | The name of the mass spectrometry instrument |  |  | TRUE | obo:MS_1000031 | http://purl.obolibrary.org/obo/
metabolomics_experiment | Instrument | scan_polarity |  | enum | [5 empty] | negative scan;positive scan | Relative orientation of the electromagnetic field during the selection and detection of ions in the mass spectrometer. |  |  |  | obo:MS_1000465 | http://purl.obolibrary.org/obo/
metabolomics_experiment | Instrument | ionization_type |  | string | [6 empty] | The method by which gas phase ions are generated from the sample. |  |  |  | obo:MS_1000008 | http://purl.obolibrary.org/obo/ | electrospray ionization
metabolomics_experiment | Instrument | detector_type |  | string | [5 empty] | array detector;microchannel plate detector;photodiode array detector;channeltron;conversion dynode;conversion dynode electron multiplier;conversion dynode photomultiplier;daly detector;dynode;electron multiplier;electron multiplier tube;faraday cup;fluorescence detector;Acquity UPLC FLR;focal plane collector;focal plane array;inductive detector;ion-to-photon detector;multi-collector;photomultiplier;point collector;postacceleration detector | Type of detector used in the mass spectrometer. |  |  |  | obo:MS_1000026 | http://purl.obolibrary.org/obo/ | electron multiplier
metabolomics_experiment | Instrument | mass_analyzer_type |  | string | [5 empty] | cyclotron;electrostatic energy analyzer;fourier transform ion cyclotron resonance mass spectrometer;ion trap;linear ion trap;axial ejection linear ion trap;radial ejection linear ion trap;quadrupole ion trap;magnetic sector;orbitrap;quadrupole;stored waveform inverse fourier transform;time-of-flight | Mass analyzer separates the ions according to their mass-to-charge ratio. |  |  |  | obo:MS_1000443 | http://purl.obolibrary.org/obo/ | quadrupole
metabolomics_experiment | data_analysis | analysis_protocol |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  |  | obo:NCIT_C42651 | http://purl.obolibrary.org/obo/ | Progenesis QI (Waters) was used for peak processing. Metabolites were identified using the Human Metabolome Database (HMDB). MassLynx V4.2 was used to measure area under the curve.
metabolomics_experiment | data_analysis | analysis_protocol_DOI |  | string | [6 empty] | A DOI to a version controlled protocol, preferably available on a repository such as protocols.io |  |  |  | obo:OBI_0002110 | http://purl.obolibrary.org/obo/
metabolomics_experiment | data_analysis | rawDataFile |  | string | [10 empty] | obo:OBI:0000021 | http://purl.obolibrary.org/obo/
metabolomics_experiment | data_analysis | Normalization |  | string | [12 empty] | Each sample was normalized to both liver weight and 13C-,15N-labelled amino acid standards
metabolomics_experiment | data_analysis | Transformation |  | string
metabolomics_experiment | data_analysis | TransformationPurpose |  | string | [6 empty] | The purpose of each performed transformation shall be specified (e.g., data visualization, background correction, statistical analysis, etc.).
metabolomics_experiment | data_analysis | TransformationDescription |  | string | [6 empty] | Either the exact mathematical formulas/algorithms of each data transformation shall be supplied using an open and freely available specification, or a description of each transformation shall be provided.
metabolomics_experiment | data_analysis | processedDataFile |  | string
metabolomics_experiment | data_analysis | unit |  | string | [5 empty] | AUC;nmol/mg protein | [6 empty] | nmol/mg total protein
metaboliteID | metabolite_identification | metabolite_name |  | string | [7 empty] | TRUE |  | TRUE |  |  | Acetyl-CoA
metaboliteID | metabolite_identification | refmet_name |  | string | [8 empty] | TRUE |  |  |  | Acetyl-CoA
metaboliteID | metabolite_identification | dtxsid |  | string | [12 empty] | DTXSID30992686
metaboliteID | metabolite_identification | inchikey |  | string | [12 empty] | ZSLZBFCDCINBPY-ZSJPKINUSA-N
metaboliteID | metabolite_identification | mass |  | string | [12 empty] | 809.1258
metaboliteID | metabolite_identification | elution_time |  | string | [12 empty] | 1.23
metabolomics_experiment | provenance | experiement template version |  | provenance | [9 empty] | TRUE
metaboliteID | provenance | sample template version |  | provenance | [9 empty] | TRUE
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRING Classes are used to separate a standard into different DataHarmonizer tables. For example: Investigation, Study, Assay could be represented by three different templates.
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRING These are used to organize the template into sections. For example: Animal details, housing conditions, substance exposure, ...