## LinkML_description
id | name | description | version | license
https://example.com/CIMR | mass_spec_metabolomics | Based on CIMR | 1.0.0 | CC0

## LinkML_slots
classes | slot_group | slots | name | range | minimum | maximum | regex | multivalued | inlined_as_list | enums | description | is_identifier | recommended | required | slot_uri(ontology) | prefix_reference | comments
Aliquot | identifiers | aliquot.submitter_id | submitter_id | string
Aliquot | identifiers | sample.submitter_id | sample.submitter_id | string
Aliquot | aliquot | analyte_type | Analyte type | enum | [5 empty] | Biofluid;Aqueous;Lipophilic;Two-phase
Aliquot | aliquot | analyte_protocol | Analyte preparation protocol | string
Aliquot | aliquot | derivitization |  | string
Aliquot | aliquot | extract_preservation_method |  | enum | [5 empty] | Room temperature;-20C;-80C | The chemical agent used for the derivatization reaction
mass_spec_assay | identifiers | submitter_id |  | string | [6 empty] | This is a unique ID assigned by the user to represent each individual record in this flow cytometry experiment. |  |  | TRUE |  |  | ms_S001
mass_spec_assay | identifiers | aliquots.submitter_id |  | string
mass_spec_assay | raw_data | rawDataFile |  | string | [10 empty] | obo:OBI:0000021 | http://purl.obolibrary.org/obo/
mass_spec_assay | raw_data | raw.data_category | data_category | enum | [5 empty] | targeted metabolomics;untargeted metabolomics;proteomics
mass_spec_assay | raw_data | raw.data_format | data_format | enum | [5 empty] | .RAW
mass_spec_assay | raw_data | raw.data_type | data_type | enum | [5 empty] | chromatograms
mass_spec_assay | raw_data | instruments.submitter_id | instrument.submitter_id | enum
mass_spec_assay | data_analysis | processedDataFile |  | string
mass_spec_assay | data_analysis | processed.data_category | data_category | enum | [5 empty] | targeted metabolomics;untargeted metabolomics;proteomics
mass_spec_assay | data_analysis | processed.data_format | data_format | enum | [5 empty] | .txt;.csv
mass_spec_assay | data_analysis | processed.data_type | data_type | enum | [5 empty] | integrated peaks
mass_spec_assay | data_analysis | Normalization |  | string | [12 empty] | Each sample was normalized to both liver weight and 13C-,15N-labelled amino acid standards
mass_spec_assay | data_analysis | Transformation |  | string
mass_spec_assay | data_analysis | TransformationPurpose |  | string | [6 empty] | The purpose of each performed transformation shall be specified (e.g., data visualization, background correction, statistical analysis, etc.).
mass_spec_assay | data_analysis | TransformationDescription |  | string | [6 empty] | Either the exact mathematical formulas/algorithms of each data transformation shall be supplied using an open and freely available specification, or a description of each transformation shall be provided.
mass_spec_assay | data_analysis | unit |  | string | [5 empty] | AUC;nmol/mg protein | [6 empty] | nmol/mg total protein
mass_spec_assay | data_analysis | analysis_protocol.submitter_id |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  |  | obo:NCIT_C42651 | http://purl.obolibrary.org/obo/ | Progenesis QI (Waters) was used for peak processing. Metabolites were identified using the Human Metabolome Database (HMDB). MassLynx V4.2 was used to measure area under the curve.
mass_spec_assay | extract | calibration_standard |  | string | [6 empty] | Indicate the name of the chemical compound used as calibration standard. | [5 empty] | Acetyl-1,2-13C2 Coenzyme A Sodium Salt
mass_spec_assay | chromatography | chromatography.name | name | string | [6 empty] | name of chromatography |  |  | TRUE
mass_spec_assay | chromatography | chromatography_column |  | string | [6 empty] | The name of the chromatography column. |  |  | TRUE |  |  | Ascentis Express C18: 5cm x 2.1 mm, 2.7 um, Sigma-Aldrich
mass_spec_assay | chromatography | chromatography_protocol |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  | TRUE |  |  | Ion-pairing reverse phase chromatography was performed on an Ascentis Express column (C18, 5 cm × 2.1 mm, 2.7 µm, Sigma).
mass_spec_assay | LiquidChromatography | elution program |  | string | [6 empty] | Description of the elution program using the following scheme | [5 empty] | injection volume, 10 µl; column temperature, 30 °C; and flow rate, 400 µl/min. The LC solvents were solvent A: 10 mM tributylamine and 15 mM acetic acid in 97:3 water:methanol (pH 4.95) and solvent B: methanol. Elution from the column was performed over 11 min with the following gradient: t = 0, 0% solvent B, flow rate 0.4 ml/min; t = 1, 0% solvent B, flow rate 0.4 ml/min; t = 2, 20% solvent B, flow rate 0.3 ml/min; t = 3, 20% solvent B, flow rate 0.25 ml/min; t = 5, 55% solvent B, flow rate 0.15 ml/min; t = 8, 95% solvent B, flow rate 0.15 ml/min; t = 8.5, 95% solvent B, flow rate 0.15 ml/min; t = 9, 0% solvent B, flow rate 0.4 ml/min; t = 11, 0% solvent B, flow rate 0.4 ml/min.
mass_spec_assay | LiquidChromatography | flow_rate |  | string | [6 empty] | Report the flow rate of the elution buffer through column in amount per minute.
mass_spec_assay | GasChromatography | carrier_gas |  | string | [6 empty] | The composition of the carrier gas (modile phase)
mass_spec_assay | GasChromatography | oven_temperature_program |  | string | [6 empty] | The description of the gas chromatography oven temperature program | [5 empty] | 40 degree C hold for 1 min.;10 degree C/min. to 300 degree C;300 degree C hold for 10 min.
mass_spec_assay | ms_method | ms_method.name | name | string | [9 empty] | TRUE |  |  | name of ms_method
mass_spec_assay | ms_method | ms_protocol |  | string | [6 empty] | A brief description of the flow cytometry protocol |  |  | TRUE |  |  | Mass spectra were acquired using negative-mode electrospray ionization run in MSE continuum mode. The capillary voltage was 2,500 V and cone voltage was 40 V. Nitrogen was used as cone gas and desolvation gas, with flow rates of 50 and 600 L/h, respectively. The source temperature was 100 °C, and desolvation temperature was 300 °C. Argon was used as collision gas.
metaboliteID | metabolite_identification | metabolite_name |  | string | [7 empty] | TRUE |  | TRUE |  |  | Acetyl-CoA
metaboliteID | metabolite_identification | metabolite.data_analysis_id | data_analysis_id | string | [9 empty] | TRUE
metaboliteID | metabolite_identification | refmet_name |  | string | [8 empty] | TRUE |  |  |  | Acetyl-CoA
metaboliteID | metabolite_identification | dtxsid |  | string | [12 empty] | DTXSID30992686
metaboliteID | metabolite_identification | inchikey |  | string | [12 empty] | ZSLZBFCDCINBPY-ZSJPKINUSA-N
metaboliteID | metabolite_identification | mass |  | string | [12 empty] | 809.1258
metaboliteID | metabolite_identification | elution_time |  | string | [12 empty] | 1.23
Instrument | Instrument | instrument.submitter_id | instrument_id | string
Instrument | Instrument | manufacturer |  | enum | [5 empty] | Agilent;Waters | The name of the mass spectrometry instrument manufacturer
Instrument | Instrument | model |  | enum | [5 empty] | Xevo TQ-S | The name of the mass spectrometry instrument |  |  | TRUE | obo:MS_1000031 | http://purl.obolibrary.org/obo/
Instrument | Instrument | scan_polarity |  | enum | [5 empty] | negative scan;positive scan | Relative orientation of the electromagnetic field during the selection and detection of ions in the mass spectrometer. |  |  |  | obo:MS_1000465 | http://purl.obolibrary.org/obo/
Instrument | Instrument | ionization_type |  | string | [6 empty] | The method by which gas phase ions are generated from the sample. |  |  |  | obo:MS_1000008 | http://purl.obolibrary.org/obo/ | electrospray ionization
Instrument | Instrument | detector_type |  | string | [5 empty] | array detector;microchannel plate detector;photodiode array detector;channeltron;conversion dynode;conversion dynode electron multiplier;conversion dynode photomultiplier;daly detector;dynode;electron multiplier;electron multiplier tube;faraday cup;fluorescence detector;Acquity UPLC FLR;focal plane collector;focal plane array;inductive detector;ion-to-photon detector;multi-collector;photomultiplier;point collector;postacceleration detector | Type of detector used in the mass spectrometer. |  |  |  | obo:MS_1000026 | http://purl.obolibrary.org/obo/ | electron multiplier
Instrument | Instrument | mass_analyzer_type |  | string | [5 empty] | cyclotron;electrostatic energy analyzer;fourier transform ion cyclotron resonance mass spectrometer;ion trap;linear ion trap;axial ejection linear ion trap;radial ejection linear ion trap;quadrupole ion trap;magnetic sector;orbitrap;quadrupole;stored waveform inverse fourier transform;time-of-flight | Mass analyzer separates the ions according to their mass-to-charge ratio. |  |  |  | obo:MS_1000443 | http://purl.obolibrary.org/obo/ | quadrupole
mass_spec_assay | provenance | mass_spec_assay.provenance | Provenance | Provenance | [9 empty] | TRUE
metaboliteID | provenance | metabolide_id.provenance | Provenance | string | [9 empty] | TRUE
Instrument | provenance | instrument.provenance | Provenance | string
Aliquot | provenance | aliquot.provenance | Provenance | string
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRING Classes are used to separate a standard into different DataHarmonizer tables. For example: Investigation, Study, Assay could be represented by three different templates.
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRING These are used to organize the template into sections. For example: Animal details, housing conditions, substance exposure, ...